{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":14,"n_cols":8,"rows_kept":14,"merged":[[0,0,0,7],[2,0,3,0],[2,1,3,1],[4,0,5,0],[4,1,5,1],[6,0,7,0],[6,1,7,1],[8,0,9,0],[8,1,9,1],[10,0,11,0],[10,1,11,1],[12,0,13,0],[12,1,13,1]],"flags":["formulas_cached_only"]}
["产品质量国家监督抽查连续两次抽查不合格企业名单"]
["序号","企业名称","企业所在地","抽查时间","产品名称","规格型号","生产日期和批号","不合格项目"]
[1,"佛山市粤佳信电线电缆有限公司","广东省","2016年联动","铜芯交联绝缘PVC护套圆型电缆","YJV 5×10mm2","2016.05.22","XLPE绝缘收缩试验"]
[null,null,"广东省","2017年专项","铜芯交联聚乙烯绝缘聚氯乙烯护套阻燃C类电力电缆","ZC-YJV-0.6/1 4×50+1×25","2017年10月13日/-","电缆成束阻燃性能"]
[2,"河南新豫特种电缆有限公司","河南省","2016年联动","铝芯交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","YJLV22-0.6/1 4×35","2016-4-26","EPR、HEPR和XLPE绝缘热延伸"]
[null,null,"河南省","2017年专项","铝芯交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","YJLV22-0.6/1 3×25+1×16","20170406/-","绝缘平均厚度"]
[3,"江苏南瑞银龙电缆有限公司","江苏省","2016年联动","交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","YJLV22-0.6/1 3×35","2016-05-26/161506007","ST2型PVC护套失重试验"]
[null,null,"江苏省","2017年专项","控制电缆（聚氯乙烯绝缘聚氯乙烯护套铜带屏蔽钢带铠装阻燃控制电缆）","ZC-KVVP2-22 450/750V 4x4","2017.10.18","电缆成束阻燃性能"]
[4,"江苏长远电缆有限公司","江苏省","2016年联动","铝芯交联聚乙烯绝缘架空电缆","JKLYJ-10 1×240","2016-05-26//","4h电压试验"]
[null,null,"江苏省","2017年专项","交联聚乙烯绝缘聚氯乙烯护套电力电缆","YJV 0.6/1kV 3x16+1x10","2017.09.23","绝缘收缩试验(%)"]
[5,"如皋市东方电缆有限公司","江苏省","2016年联动","交联聚乙烯绝缘聚氯乙烯护套电力电缆","YJV-0.6/1 3×6","2016-05-18/-","ST2型PVC护套失重试验"]
[null,null,"江苏省","2017年专项","聚乙烯绝缘聚氯乙烯护套电力电缆（交联聚乙烯绝缘聚氯乙烯护套电力电缆）","YJV 0.6/1kV 5x10","2017.09.18","护套失重试验"]
[6,"人民电缆集团有限公司","河南省","2016年第四批季度","普通聚氯乙烯护套软线","60227 IEC 53（RVV）300/500V","2016-7-19","绝缘最薄处厚度(mm)、曲挠试验"]
[null,null,"河南省","2017年专项","额定电压1kV铝芯交联聚乙烯绝缘架空电缆","JKLYJ-1 1×70","20170825/-","绝缘收缩试验(%)"]